IGS

Model 117

6-Pulse Converter-Quadratic integration

Developed by

Professor Meliopoulos Group

Georgia Institute of Technology

School of Electrical and Computer Engineering

Atlanta, Georgia 30332

May 2016

Table of Contents

Scope	3

1.	Model Description	4

2.	Time Domain Model	6

3.1 Single Valve Compact Model	6

3.2 Single Valve State and Control Quadratized Device Model (SCQDM)	8

3.3 Single Valve State and Control Algebraic Quadratic Companion Form Model (SCAQCF)	10

3.4 Smoothing Capacitor Compact Model	12

3.5 Smoothing Capacitor State and Control Quadratized Device Model (SCQDM)	13

3.6 Smoothing Capacitor State and Control Algebraic Quadratic Companion Form Model (SCAQCF)	14

3.7 Six-pulse Converter SCAQCF Model	16

Controller Design	18

4.1 Equidistant control of the 6-pulse converter	18

4.2 Equidistant control of the 6-pulse inverter	20

4.3 Dynamic Firing Angle for constant power control	21

4.4 Converter control	21

4.5 Inverter control	23

Computer algorithm for a six-pulse converter	27

3.	Quasi-Dynamic Domain Model	34

6.1 DC/AC Inverter with Equi-distant Control: Compact Form	35

6.2 DC/AC Inverter with Equi-distant Control: SCQDM Form	36

6.3 DC/AC Inverter with Equi-distant Control: SCAQCF Form	41

6.4 AC/DC Rectifier with Equi-distant Control: Compact Form	43

6.5 AC/DC Rectifier with Equi-distant Control: SCQDM Form	44

6.6 AC/DC Rectifier with Equi-distant Control: SCAQCF Form	49

# Scope

This document presents the SCAQCF model of a six pulse converter in Quasi Dynamic and Time Domain.

In the time domain, the six pulse converter is merged with an equidistant control scheme, and a DSP model.

# Model Description

A Six-pulse Converter consists of six valves containing a thyristor, a snubber circuit, and a current rate limiting circuit. They are interconnected to yield the six-pulse converter topology. The overall system of a six-pulse converter is shown in Figure 2-1.

The circuit parameters of the six-pulse converter of Figure 2-1 are:

: thyristor conductance of each valve

: snubber circuit resistance

: snubber circuit capacitance

: resistance in parallel with reactor

: current rate limiting inductance

: thyristor parasitic capacitance

: DC side smoothing capacitance

Figure 2-1 There Phase, Six-pulse Converter Model

Figure 2-2 Scheme of Firing Angle of Each Valve in Steady State

After the six-pulse converter is modeled, the six-pulse converter has to be merged with a controller which gives control signals to valves   and a digital signal processor (DSP) model which gives the reference signal to the controller for the control actions of the six-pulse converter. In the control action, the scheme of the control is equidistant control scheme. Equidistant firing delay control is a popular scheme with the individual phase control to operate high-voltage direct current (HVDC) system. In equidistant firing delay control, the firing pulses of thyristors are generated at equal intervals of , and all firings are delayed by equal delay angle  as shown in Fig 2-2.

# Time Domain Model

This section presents the time-domain model of the six pulse inverter. The model is presented in terms of the constituent parts of the converter, namely, valve model, capacitor model and controller.

## 2.1 Single Valve Compact Model

The model of a single valve of a six-valve converter is shown in Figure 3-1. Note that the valve may reside one of two states. We derive the state space equations for a single valve.

The model has two external state variables,  and , and three internal state variables, , , and . Figure 3-1 illustrates the two topologies of the thyristor, i.e., valve on, valve off.

Figure 3-1. Single Valve Model

(Valve Conductance is a Function of Valve Status)

The equations of a single valve are:

Note that the electronic switch model is represented with the conductance GV. This conductance value is changed according to the two states

## 2.2 Single Valve State and Control Quadratized Device Model (SCQDM)

Since the single valve compact model is linear, so the quadratized device model is the same as the compact model. The QDM is shown as follows:

Equation set 1:

Equation set 2:

Equation set 3:

none

Rewrite the above three equation sets into matrix format:

where,

,    ,    ,

,    ,

,

,    ,    ,     ,    ,

State:

Control:

## 2.3 Single Valve State and Control Algebraic Quadratic Companion Form Model (SCAQCF)

The state and control algebraic quadratic companion form (SCAQCF) device model is derived from applying quadratic integration to the quadratized device model with a time step h. In this three phase capacitor bank case there is no control variables, thus the SCAQCF three phase capacitor bank model is:

Provide here the SCAQCF standard:

where:

: the through variables of the device model

: external and internal state variables of the device model,

: control variables of the device model, i.e. transformer tap, etc.

,

,    ,

,

,

## 2.4 Capacitor Compact Model

The model of a smoothing capacitor of a six-valve converter is shown in Figure 3-2.

Figure 3-2. Smoothing Capacitor Model

The equations of a smoothing capacitor is:

## 2.5 Capacitor State and Control Quadratized Device Model (SCQDM)

Since the smoothing capacitor compact model is linear, so the quadratized device model is the same as the compact model. The QDM is shown as follows:

Equation set 1:

Equation set 2:

none

Equation set 3:

none

Rewrite the above three equation sets into matrix format:

where,

,    ,    ,

,    ,    ,

,    ,    ,     ,    ,

State:

Control:

## 2.6 Capacitor State and Control Algebraic Quadratic Companion Form Model (SCAQCF)

The state and control algebraic quadratic companion form (SCAQCF) device model is derived from applying quadratic integration to the quadratized device model with a time step h. In this three phase capacitor bank case there is no control variables, thus the SCAQCF three phase capacitor bank model is:

Provide here the standard:

where:

: the through variables of the device model

: external and internal state variables of the device model,

: control variables of the device model, i.e. transformer tap, etc.

,

,    ,

,

,

## 2.7 Six-pulse Converter SCAQCF Model

Figure 3-3 The Pointers of There Phase, Six-pulse Converter Model

Blue during, Red during

Six single valves and the smoothing capacitor are connected to specific nodes of the converter. The connectivity of each valve and the smoothing capacitor are defined in terms of the order of the corresponding states. Table 3-1 and Table 3-2 provide the connectivity pointers of the six valves and the smoothing capacitor, and Figure 3-3 shows the positions of the pointers.

| Valve # | States |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | External (t) |  | Internal (t) |  |  | External () |  | Internal () |  |  |
| 1 | 0 | 3 | 8 | 9 | 10 | 26 | 29 | 34 | 35 | 36 |
| 2 | 4 | 2 | 11 | 12 | 13 | 30 | 28 | 37 | 38 | 39 |
| 3 | 1 | 3 | 14 | 15 | 16 | 27 | 29 | 40 | 41 | 42 |
| 4 | 4 | 0 | 17 | 18 | 19 | 30 | 26 | 43 | 44 | 45 |
| 5 | 2 | 3 | 20 | 21 | 22 | 28 | 29 | 46 | 47 | 48 |
| 6 | 4 | 1 | 23 | 24 | 25 | 30 | 27 | 49 | 50 | 51 |

Table 3-1:  Valve Pointers

| Cap # | States |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 1 |  | 3 | 4 | 29 | 30 |

Table 3-2:  Smoothing Capacitor

Algebraic Companion Form of a six pulse converter can be merged by using six valves and a smoothing capacitor with the connectivity pointers. The computer algorithm is:

DO WHILE (Number of valve)

DO WHILE (<the Number of ROW)

= Valve Pointer [][]

DO WHILE (<the Number of Column)

= Valve Pointer [][]

END DO

END DO

END DO

DO WHILE (<the Number of ROW)

= Capacitor Pointer []

DO WHILE (<the Number of Column)

= Capacitor Pointer []

END DO

END DO

Describe how the results are stored.

## 2.8 Controller Design

The converter controller can be a very complex system depending on the sophistication of the control scheme.  Here we implement the basic scheme of valve Control for the converter control, which consists of two steps. The controller determines the firing time of each valve with firing delay,, relative to the control reference.

Need to describe….

### 2.8.1 Equidistant control of the 6-pulse converter

In Equidistant control, the firing pulses of thyristors are generated at equal intervals of . To keep the equal distance of firing pulses, all firing have to be delayed by the same delay angle, . The scheme of firing is shown figure 4-1.

Figure 4-1 the Scheme of Firing Angle of Each Valve

The Calculation of Firing Delay Angle of

To compute the firing angle, two steps are needed. First, the no-load direct voltage has to be calculated. After the no-load direct voltage is computed, the firing delay angle can be calculated.

Figure 4-2 the direct voltage, during the time firing delay angle is zero

Step 1: Compute ideal no-load direct voltage

Ideal no-load direct voltage is calculated with

From the figure 4-3, the Area A can be calculated. The area A is as follows

=

Therefore dividing  A by  interval yields

Where  is Ideal no-load direct voltage.

Step 2:	 Find firing delay

Figure 4-3 Voltage drop due to firing delay,

From the figure 4-3, the Voltage drop Area is the integral of .

Therefore,

Where:

= Ideal no-load direct voltage,

= direct Voltage of Load side,

= direct Current of Load side, and

### 2.8.2 Equidistant control of the 6-pulse inverter

Figure 4-4 the Scheme of Firing Control of Inverter

This part shows the strategy of inverter control which is also the equidistant control scheme. However, three phase voltages and DC voltage at the inverter side are related with the extinction angle  as Figure 4-4. The equations below show the relationship between DC voltage and AC voltage at an inverter.

,

where  is the direct voltage, and  is Ideal no-load direct voltage at the inverter side.

From the equation above, the firing angle  can be calculated. The relationship between the firing angle and the extinction angle is that .

### 2.8.3 Dynamic Firing Angle for constant power control

In this section, the six-pulse converter and inverter will be controlled dynamically, because the systems for high power transmission are always dynamic systems. The firing delay angle will  be automatically changed according to the power order, and when the system reaches a stable point, the firing delay angle  also settle at a stable point. In steady state, the switching time of each valve has equivalent intervals of .

## 4.4 Converter control

In order to control a six pulse converter, firing delay angle will be controlled which is calculated with the relationship between direct voltage () and ideal no-load direct voltage. Figure 4-5 shows the block diagram of the control strategy for constant output power at the converter side.

Figure 4-5 the principle of the output power control

The important parameters of the control scheme are:

Prospective output power

Output power calculated by using measured Voltage and current

Ideal no-load direct voltage ()

Proportionality constant

Firing angle deviation

Filtered firing angle deviation

Zero crossing time of Line-Line voltage between phase A and phase B

The design of each block is:

Block A: To compute the voltage other from Prospective output power

The reference voltage can be calculated with Prospective output power and measured direct current. The equation is:

The six pulses converter can’t generate bigger voltages than the no-load direct voltage. So, we can limit the maximum voltage into the no-load direct voltage.

If the  is bigger than the no-load direct voltage,, then .

Block B: To compute the deviation of firing angle

The deviation of firing delay angle for next time step can be calculated with present firing angle, and ideal no-load direct voltage. The following equation shows how to calculate the firing delay deviation.

Where

Where

Block C: To compute the filtered deviation of firing angle

Because sudden deviation can generate switching failure of valves, the deviation has to be filtered in order to reduce the changing rate of the firing angle.

Where is proportionality constant

Block D: To compute firing angle

The firing angle for next step can be calculated by summing present firing angle and filtered deviation of firing angle.

Block E: To check the limitation of firing angle

The firing angle has to be limited between 5 degree and 90 degree, because if the firing angle is not in the boundary, the deviation of firing angle cannot be calculated properly. For the example, if the firing angle is zero, the goes infinite. Furthermore, the firing delay angle is bigger than , the DC voltage will change to opposite, and  the converter will work as an inverter.

If the firing angle is smaller than , then

If the firing angle is bigger than , then

Block F: To compute the switching time of each valve.

Once the firing delay  has been computed, the closing of the thyristor valves will be computed as the following time steps:

Valve 1:

Valve 2:

Valve 3:

Valve 4:

Valve 5:

Valve 6:

Where is Fundamental frequency

## 4.5 Inverter control

As the strategy of converter control, the scheme of the inverter operation is dynamically controlled. The extinction angle and the firing angle related with the extinction angle have to be calculated on running time. Figure 4-6 shows the block diagram of the control strategy for power control at the DC side of the inverter.

Figure 4-6 the principle of the output power control of inverter

The important parameters of the control scheme are:

:	 	Prospective DC power of an inverter

:		Direct current at the inverter side

:			Reference voltage at the inverter side

:		Direct voltage at inverter side

:		Extinction angle

:		The deviation of extinction angle

:		Zero-Crossing time of

From now on, the design of the control scheme will be explained below according to each block diagram.

Block A: To compute the voltage order from

The reference voltage can be calculated from power order, and measured direct current. The equations are as follows:

The six pulses inverter can’t generate bigger voltages than the no-load direct voltage. So, we can limit the maximum voltage into the no-load direct voltage.

If the  is bigger than the no-load direct voltage,, then .

Block B: To compute the deviation of extinction angle

The deviation of extinction angle can be calculated with present extinction angle, and ideal no-load direct voltage. The following equation shows how to calculate the deviation.

Where

Where

Block C: To compute the filtered deviation of extinction angle

Because sudden deviation can generate switching failure of valves, the deviation has to be filtered in order to reduce the changing rate of the extinction angle.

Where is proportionality constant

Block D: To compute firing angle

The firing angle for next step can be calculated by summing present firing angle and filtered deviation of firing angle.

Where is commutation angle

Block E: To check the limitation of firing angle

The firing angle has to be limited between 90 degree and degree. If the firing angle is not bigger than 90 degree, the inverter will work as a converter, and if the firing angle is not smaller than  degree, the switching of valves can meet switching failure.

If the firing angle is smaller than , then

If the firing angle is bigger than , then     where

Block F: To compute the switching time of each valve.

Once the firing delay  has been computed, the closing of the thyristor valves will be computed as the following time steps:

Valve 1:

Valve 2:

Valve 3:

Valve 4:

Valve 5:

Valve 6:

Where is Fundamental frequency

## 2.9 Implementation of six-pulse converter

This technical report presents equivalent algebraic equations of a single valve and a compact matrix form of a six pulse converter model which is yielded by quadratic integration in section 3. Section 4 offers control action and DSP model which offers zero crossing time and the magnitude of Line-to-Line voltage of a six pulse converter. Further, equidistant control scheme is emulated in control action.  With these models of section 3 and control action scheme of section 4, a six pulse converter can be modeled and controlled as a HVDC converter and a HVDC inverter. In this section, the computer algorithm is presented. the Figure 5-1 shows a flow chart to explain the total computer algorithm.

Figure 5-1 Algorithm for computer programming

Based on the flow chart  of Figure 5-1, the computer algorithm can

Step 1: Model a single valve with two states and a capacitor

The compact matrix form of Single valve is:

(5-1)

where , and have two different configurations, and the detailed formats are in section 3

The compact matrix form of a capacitor is:

(5-2)

Step 2: Calculate firing delay angle for next step

For a converter

If the  is bigger than the no-load direct voltage,, then .

Where

Where

If the firing angle is smaller than , then

If the firing angle is bigger than , then

For an inverter

Where

Where

Where is proportionality constant

Where is commutation angle

If the firing angle is smaller than , then

If the firing angle is bigger than , then     where

Step 3: Calculate valve switching time

Once the firing delay  has been computed, the closing of the thyristor valves will be computed as the following time steps:

Valve 1:

Valve 2:

Valve 3:

Valve 4:

Valve 5:

Valve 6:

Where is Fundamental frequency

Step 4: Update the next valves’ state of turning on or turning off

The valves state of turning on or turning off is saved as a simple vector form named ‘iValveStatus’. The iValveStatus is follow:

In the vector, the state of valve is saved as 1or 0: if valve state is ‘ON’, the value in the vector is 1, and if valve state is ‘OFF’, the value in the vector is 0.

Logic for turning off valve

Figure 5-2 single valve:

To find the bias voltage of each valve, the Valve Pointers of Table 3-1 is used.

The Logic of switching is:

DO WHILE (Number of valve)

If

{

If   (Reverse blocking voltage)

{

}

}

END DO

Logic for turning on valve

DO WHILE (Number of valve)

If

{

If

{

If

{

}

}

}

END DO

Step 5: Merge six single-valves and a capacitor  for a converter

After deciding valve states of each valve, Algebraic Companion Form of a six pulse converter can be merged by using six valves and a smoothing capacitor with the connectivity pointers of Table 3-1 and Table 3-2. The computer algorithm is:

DO WHILE (Number of valve)

DO WHILE (<the Number of ROW)

= Valve Pointer [][]

DO WHILE (<the Number of Column)

= Valve Pointer [][]

END DO

END DO

END DO

DO WHILE (<the Number of ROW)

= Capacitor Pointer []

DO WHILE (<the Number of Column)

= Capacitor Pointer []

END DO

END DO

Step 6: Update , and

Step 7:  Decide whether computation will be stopped, or not

If yes, the computation ends

Else, go to step 2

# Quasi-Dynamic Domain Model

The quasi-static domain model of a six-pulse converter consists of simplified limiting current reactors (-jB) and simplified internal admittances (G). In order to model the Q-domain converter model, several assumptions have to be made as follows:

- The converter is controlled based on firing angle of thyristors.

- Voltage ripples and current ripples are averaged.

- Input sources are balanced.

Figure 6.1 shows the equivalent circuit of a standard six-pulse converter. The converter can operate in inverter mode or in rectifier mode. In case of the quasi-static domain model, the rectifier mode and inverter model have the same physical structure with slightly different model equations.

Figure 6.1 Equivalent Model of a Six-pulse Converter

## 3.1 DC/AC Inverter with Equi-distant Control: Compact Form

For the averaging model of the DC/AC inverter with equi-distant control, we present equivalent equations of the inverter in phasor representation. The model equations are:

You need to have the following sections (and same for all others):

### Compact Model

xxxxxx

### QDM Model

xxxxxx

### SCAQCF Model

xxxxxxx

External-state equations are

The current balance equation at the DC side is

The relationship between DC voltage and AC voltage is

The relationship between DC current and AC current is

The equation for determining the input power factor is

## 6.2 DC/AC Inverter with Equi-distant Control: SCQDM Form

The model equations derived from the DC/AC inverter with equi-distant control has to be quadratized, so that the equations become the combination of both linear and nonlinear equations of highest order 2.

Linear equations are:

The quadratization of the nonlinear equations is as follows:

The relationship between DC voltage and AC voltage is

The absolute value of the internal voltage Ea can be denoted as follows

The quadratized equation is

A dummy variable is added to ensure  is nonnegative

The relationship between DC current and AC current is

Additional variables are introduced to represent the real and imaginary parts of

The absolute value of phase a current  can be denoted as follows

The quadratized equation is

A dummy variable is added to ensure  is nonnegative

The equation for determining the input power factor is

The real and imaginary parts as well as the absolute value of the product  are represented by additional variables as

The quadratized equation is

A dummy variable is added to ensure  is nonnegative

In summary, the quadratized equations are described as follows

The quadratized model equations can be reformulated as a compact matrix form with 10 through variables and 24 state variables as follows:

The vector of the state variables can be defined as:

where:

,

.

The control variable is

Therefore, the matrix form of the quadratized equations can be represented as follow:

Where the matrices are defined as follows:

The Feqxx matrices have the following nonzero entries

, ,

, ,

,

,

, ,

The Fequx matrices have the following nonzero entries

## 6.3 DC/AC Inverter with Equi-distant Control: SCAQCF Form

The state and control algebraic quadratic companion form (SCAQCF) device model is derived from applying quadratic integration to the quadratized device model with a time step h. In this three phase capacitor bank case there is no control variables, thus the SCAQCF three phase capacitor bank model is:

where:

: the through variables of the device model

: external and internal state variables of the device model,

: control variables of the device model, i.e. transformer tap, etc.

,

,    ,

,

,

## 6.4 AC/DC Rectifier with Equi-distant Control: Compact Form

For the averaging model of the AC/DC rectifier with equi-distant control, we present equivalent equations of the inverter in phasor representation. The model equations are:

External-state equations are

The current balance equation at the DC side is

The relationship between DC voltage and AC voltage is

The relationship between DC current and AC current is

The equation for determining the input power factor is

## 6.5 AC/DC Rectifier with Equi-distant Control: SCQDM Form

The model equations derived from the AC/DC rectifier with equi-distant control has to be quadratized, so that the equations become the combination of both linear and nonlinear equations of highest order 2.

Linear equations are:

The quadratization of the nonlinear equations is as follows:

The relationship between DC voltage and AC voltage is

The absolute value of the internal voltage Ea can be denoted as follows

The quadratized equation is

A dummy variable is added to ensure  is nonnegative

The relationship between DC current and AC current is

Additional variables are introduced to represent the real and imaginary parts of

The absolute value of phase a current  can be denoted as follows

The quadratized equation is

A dummy variable is added to ensure  is nonnegative

The equation for determining the input power factor is

The real and imaginary parts as well as the absolute value of the product  are represented by additional variables as

The quadratized equation is

A dummy variable is added to ensure  is nonnegative

In summary, the quadratized equations are described as follows

The quadratized model equations can be reformulated as a compact matrix form with 10 through variables and 24 state variables as follows:

The vector of the state variables can be defined as:

where:

,

.

The control variable is

Therefore, the matrix form of the quadratized equations can be represented as follow:

Where the matrices are defined as follows:

The Feqxx matrices have the following nonzero entries

, ,

, ,

,

,

, ,

The Fequx matrices have the following nonzero entries

## 6.6 AC/DC Rectifier with Equi-distant Control: SCAQCF Form

The state and control algebraic quadratic companion form (SCAQCF) device model is derived from applying quadratic integration to the quadratized device model with a time step h. In this three phase capacitor bank case there is no control variables, thus the SCAQCF three phase capacitor bank model is:

where:

: the through variables of the device model

: external and internal state variables of the device model,

: control variables of the device model, i.e. transformer tap, etc.

,

,    ,

,

,